Software Installation under Windows XP(32bits)

1. Install Driver

1.1 Use the provided USB link cable, plug one end of the cable into the USB socket of computers and the other end into the USB socket in the front panel of generators.

1.2 Copy the folder “CH372DRV-xp(32bits)” and the files in it from CD to the computer.

1.3 Turn on the generator. The computer will prompt “Found new hardware”. Install the USB

driver according to the prompt of “Found New Hardware wizard” one by one and set the search path as the folder “CH372DRV-xp(32bits)”to complete the installation of USB driver which applies to instrument. The driver just needs to be installed once and it will be used normally after that.

2. Run “peaktech4055MV.exe” in the folder of “software”.

Software Installation under Windows Vista and Windows 7 (32bits and 64bits)

- Don’t make the instrument connected with PC before installing the software.

- Firstly to run “setup.exe” in CH372DRV-vista&win7(32bits) (for x86 system) or CH372DRV-vista&win7(64bits) (for x64 system). Users maybe prompted to note the user’s permissions and please continue to install, then the following interface appear:

Fig.1

Please click “INSTALL” to begin.

If the following prompt interface appears:

Fig.2

Please click “Install this driver software anyway”.

- Wait a moment, the system will prompt：

Fig.3

Please click OK.

- If system prompt as following：

Fig.4

Please click “This program installed correctly” to finish installation.

- Make the instrument connected with PC then power-on, as the Fig.3 shown, will let the system automatically install in the hardware.

- Run “peaktech4055MV.exe” in the folder of “software (VB) to install the source code in Visual Basic, or, copy the source codes in Visual C++ in the folder of “software(VC++)” to your application folder in your PC.